## Table of Contents
A. Amber Wave
B. Tamko
C. Southwest Bell Telephone
D. Kyle Railroad
E. Fourwinds Oil
F. John O Farmer Inc.
G. Trinity Ag
H. Berexco LLC.
I. Ritchie Exploration Inc.
J. Darrah Oil
K. Murfin Drilling Co.
L. CRCT
M. American Warrior Inc.
O. Coffeyville FertNitro
P. Nebraska-Land Aviation
Q. Mineral Right Inc.
R. Verizon Wireless
S. Long Island Ready Mix Plant
T. Johnson Oil
U. CHCS Inc.
V. IA Operating Inc.

## Amber Wave
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Summitt Sustainable Ingredients LLC AMBER WAVE | 1664 East 100 Road | 785-543-6719 | Section 312 & Annual | Vicki Korobka | vkorobka@amberwaveusa.com | 785-543-8168
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Alpha Amylase | No | Flammable | Skin corrosion or irritation, serious eye damage or eye ittitation, respiratory or skin sensitization, | Tank Inside Building | Ambient Pressure | Ambient Temp | Liquid & Mix | Process Building | 44092 | 29533 | 365 | 9000-90-2
Biosource An | No | Corrosive to Metal | Acute Toxicity, Serious Eye Damage, Respiratory or Skin, Germ cell mutagenicity, Carcinogenicity, Reproductive toxicity, Specific Target organ toxicity | Tote Bin | Ambient Pressure | Ambient Temp | Liquid & Mix | Plant, Cook Hallway | 76728 | 19182 | 366 | None
Caustic Soda | No | Corrosive to Metal | Skin corrosion or irritation, Serious Eye Damage | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | East of CIP | 82566 | 55992 | 365 | 1310-73-2
Corn Oil Product | No | Flammable | Skin Corrosion or irritation, Respiratory or Skin Sensitization | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Pure | Energy Center | 37280 | 0 | 12 | 8001-30-7
Corrosion Inhibitor | No | Flammable | Acute Toxicity, Skin corrosion or irritation, Serious Eye Damage or irritation, Respiratory or Skin Sensitization, Specific Target organ toxicity | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | Tank Farm | 11446 | 4699 | 365 | None
Denatured Ethanol | No | Flammable | Acute Toxicity, Serious Eye Damage or eye irritation, germ cell mutagenicity, carcinogenicity, reproductive toxicity, specific target organ toxicity | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | Tank Farm | 6588600 | 2655864 | 365 | 64-17-5
Dried Distillers Grains & Solubles | No | Combustible Dust | None | Other | Ambient Pressure | Ambient Temp | Solid | DDGS Bldg Flat Storage | 1000000 | 200000 | 365 | None
Ethyl Alcohol 190 Proof | No | Flammable | Acute Toxcity (any route), skin corrosion or irritation, serious eye damage or irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Pure | Tank Farm | 661000 | 125000 | 365 | 64-17-5
Ethyl Alcohol 200 Proof | No | Flammable | Acute Toxicity (any route of exposure), Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Pure | Tank Farm | 661000 | 310500 | 365 | 64-17-5
Grain Dust | No | Combustible Dust | N/A | Silo | Ambient Pressure | Ambient Temp | Solid | Wheat Storage Silos | 224000 | 112000 | 365 | None
Granule Aide | Yes | N/A | Skin corrosion or irritation, serious eye damage or irritation, carcinogencity | Tote Bin | Ambient Pressure | Ambient Temp | Liquid & Mix | Plant, Cook Hallway | 37155 | 9289 | 365 | 7664-93-9
Lead Acid Batteries | Yes | Explosive, Flammable, Pyrophoric gas | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, germ cell mutagenicity, carcinogenicity, reproductive toxicity | Battery | Ambient Pressure | Ambient Temp | Solid, Liquid, Mix | Mobile Sources, Emergency Lighting, Control Room Fire System | 5916 | 5916 | 365 | None
Natural Gasoline | No | Flammable | Acute toxicity (any route of exposure), skin corrosion or irritation, respiratory or skin sensitization, germ cell mutagenicity, carcinogenicity, reproductive toxicity, specific target organ toxicity (single or repeated exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | Tank Farm | 625500 | 248063 | 365 | 8006-67-9
Sodium Hypochlorite | No | Corrosive to Metal | Acute toxicity, skin corrosion or irritation, serious eye damage or eye irritation | Tote Bin | Ambient Pressure | Ambient Temp | Liquid & Mix | North of Cooling tower | 14625 | 7313 | 365 | 7681-52-9
Sulfuric Acid | Yes | Corrosive to Metal, In contact with water emits flammable gas | Skin corrosion or irritation, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | Across Drive to Process Bldg. | 140000 | 78000 | 365 | 7664-93-9
Transformer Oil | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation | Other | Ambient Pressure | Ambient Temp | Liquid & Pure | Transformers through the site | 60516 | 60516 | 365 | 64742-53-6
Urea | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, specific target organ toxicity | Bag | Ambient Pressure | Ambient Temp | Solid | On Pallets in Building | 184000 | 69000 | 365 | 57-13-6
Updated 3/6/2026

## Tamko
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Tamko Bldg Products LLC | 1598 N HWY 183, Phillipsburg KS | 785-543-2144 | 312 & Annual | Dustin Springer | dustin_Springer@tamko.com | 515-201-7561
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Colored Roofing Granules | N | N/A | Carcinogenicity, specific target organ toxicity | Silo, Railcar, New Silos | Ambient Pressure | Ambient Temperature | Solid, Mix | Silos in Aspalt Yard, Railcars on Railroad, New Silos | 13774200 | 4503711 | 365 | None
Diesel Fuel | N | Flammable | Acute toxicity, skin corrosion or irritation, carcinogenicity, specific target organ toxicity, aspiration hazard | Above Ground Tank x2, Other x3 | Ambient Pressure | Ambient Temperature | Liquid, Mix | Tank A61, Tank G6, 2 Emergency Generators, Loader, Trackmobile, Tank A66 | 12200 | 9150 | 365 | 68476-34-6
Fiberglass Mat | N | N/A | Respiratory or skin sensitization, carcinogenicity | Other | Ambient Pressure | Ambient Temperature | Solid, Mix | Warehouse-MPL & LRL | 1950000 | 1000000 | 365 | 65997-17-3
Headlap Slag | N | N/A | Carcinogenicity, specific target organ toxicity | Silo, New Silos | Ambient Pressure | Ambient Temperature | Solid, Mix | Old Silos in asphalt yard, & New Silos | 5364000 | 2213641 | 365 | None
Knock Out Oil | N | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity | Above Ground Tank & Tank Inside Building | Ambient Pressure | Ambient Temperature | Liquid, Mix | Asphalt Yard & Tank Farm & Manufacturing Lines | 45500 | 1300 | 365 | None
Limestone | N | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity, specific target organ toxicity (single or repeated exposure) | Tank inside Bldg., Other, Silo, Bag, Other | Ambient Pressure | Ambient Temperature | Solid, Mix | Tanks (3) over production line, rock pile, tech tank and pre-ground tank, manufacturing lines, rock tanks (2) at mill | 9058296 | 4525658 | 365 | 1318-65-3
Phosphoric Acid | N | Corrosive to metal | Skin corrosion or irritation, Serious eye damage or eye irritation | Tank Inside Bldg. | Ambient Pressure | Greater than Ambient Temperature | Liquid, Pure | Asphalt Yard & Warehouse | 87000 | 60350 | 365 | 8017-16-1
Polyester Mat | N | Combustible Dust | Serious eye damage or eye irritation | Other | Ambient Pressure | Ambient Temperature | Solid, Mix | FM Warehouse | 1049149 | 373366 | 365 | None
Roofing Asphalt | N | N/A | Acute toxicity (any route of exposure), Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity, specific target organ toxicity, aspiration hazard | Above Ground Tank x8 & Tank Inside Bldg. x2 | Ambient Pressure | Greater than Ambient Temperature | Solid, Liquid, Mix | Asphalt Yard (Tank A17), Tank A10, Asphalt Yard (Tank A16), Asphalt Yard (Tank A20), Tank Farm (Tank A21), Tank Farm (Tank A22), Tank Farm (Tank A23), Tank Farm (Tank A24), Mix/Run ranks on LRL, Mix/Run tanks on MPL | 20473236 | 7337228 | 365 | 8052-42-4
Sand | N | N/A | Carcinogenicity, specific target organ toxicity | Tank Inside Bldg. | Ambient Pressure | Ambient Temperature | Solid, Pure | 2 tanks (MPL) & 1 tank (LRL) | 389500 | 102915 | 365 | 14808-60-7
Severely Treated Base Oin (Heat Transfer Fluid) | N | N/A | Aspiration hazard | Other | Ambient Pressure | Greater than Ambient Temperature | Liquid, Mix | Hot Oil Systems | 62500 | 62500 | 365 | 64742-54-7
Sulfuric Acid | Yes | N/A | Skin corrosion or irritation, serious eye damage eye irritation | Plastic Drum or Non-Metallic, Battery x3, Plastic Bottles or Jugs | Ambient Pressure | Ambient Temperature | Liquid, Mix | LRL (containers in spill containment), boomlifts, robot batteries (palletizing), scissor lifts, boilers | 3300 | 3300 | 365 | 7664-93-9 | 0
Updated 3/6/2026

## Southwest Bell Telephone
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Southwestern Bell Telephone Co. | 311 S. Akard St. Dallas TX | 800-566-9347 | 312 & Annual | Aaron Edwards | ae9678@att.com | 316-234-5675
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Sulfuric Acide | Yes | Explosive-Corrosive to metal | Acute Toxicity (any route of exposure), Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, germ cell mutagenicity, carcinogenicity, reproductive toxicity, specific target organ toxicity (single or repeated exposure), aspiration hazard | Battery | Ambient Pressure | Ambient Temperature | Liquid, Pure | Engine Room | 595 | 595 | 365 | 7664-93-9
Updated 3/3/2026

## Kyle Railroad
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Kyle Railroad Company | 38 Railroad Ave | 785-543-6527 | 312 & Annual | Thomas Novitske | thomas.novitske@gwrr.com | 785-302-0607
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Battery Acid | Yes | Flammable & Corrosive to metal | Acute toxivity (any route of exposure), skin corrosion or irriation, serious eye damage or eye irritation, respiratory or skin sensitization | Battery | Ambient Pressure | Ambient Temperature | Liquid | Batteries at N Storage Facility | 3603 | 3603 | 365 | 7664-93-9
Crystaline Silica | No | N/A | Serious eye damage, or eye irritation, carcinogenicity, specific target organ toxicity (single or repeated exposure) | Silo | Ambient Pressure | Ambient Temperature | Pure | Silo | 48000 | 48000 | 365 | 14808-60-7
Diesel Fuel | No | Flammable | Acute toxivity (any route of exposure), skin corrosion or irriation, Carcinogenicity, specific target organ toxicity (single or repeated exposure), aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | Tank A1- 100 Ft North of Shop | 225180 | 225180 | 365 | 68476-34-6
Lube Oil | No | Hazard not otherwise classified | Skin corrosion or irritation, | Tank Inside Building | Ambient Pressure | Ambient Temperature | Liquid | Tank A4 Inside Shop | 13166 | 13166 | 365 | 64742-54-7
Used Oil | No | N/A | Skin corrosion, or irritation, serious eye damage or irritation, respiratory or skin sensitization, germ cell mutagenicity, carcinogenicity, reproductive toxicity, specific target organ toxicity (single or repeated exposure), aspiration hazard | Above Ground Tank, Tank Inside Bldg. Steel Drum | Ambient Pressure | Ambient Temperature | Liquid Mix | Tank A3 9,000 GAL 15 FT West of Shop & Tank A8 263 GAL in Shop & Drums inside shop | 69194 | 69197 | 365 | None
Updated 3/3/2026

## Fourwinds Oil
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Fourwinds Oil | Hays, KS | 785-259-8403 | 312 & Annual | Dan Windholz |  | 785-259-8403
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Crude Oil | No | Flammable | Respiratory or skin sensitization, Serious eye damage or irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SEC 29-5-20) | 87165 | 1937 | 365 | 8002-05-09 | DG Hansen
Crude Oil | No | Flammable | Respiratory or skin sensitization, Serious eye damage or irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SEC 29-5-20) | 545400 | 10410 | 365 | 8002-05-09 | H&S Unit
Crude Oil | No | Flammable | Respiratory or skin sensitization, Serious eye damage or irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SEC 28-5-20) | 88515 | 1967 | 365 | 8002-05-09 | Mary A Unit
Crude Oil | No | Flammable | Respiratory or skin sensitization, Serious eye damage or irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SEC 12-4S-20W) | 560025 | 12445 | 365 | 8002-05-09 | Zillinger
Crude Oil | No | Flammable | Respiratory or skin sensitization, Serious eye damage or irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SEC 36-T4S-R21W) | 352800 | 7840 | 365 | 8002-05-09 | States AG
Updated 3/6/2026

## John O Farmer Inc
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
John O Farmer Inc. | 370 W Wichita Ave, Russell KS | 785-483-3144 | Section 312 & Annual | John O Farmer IV | johnfarmer4@johnofarmer.com | 785-483-9204
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Crude Oil | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (NW/4 & SW/4 SEC 18-4S-18W) | 201519 | 37784 | 365 | 8002-05-09 | Bredemeier A
Produced Brine | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (NW/4 & SW/4 SEC 18-4S-18W) | 190000 | 100000 | 365 | None | Bredemeier A
Crude Oil | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (S/2 SW/4 SEC 17 & E/2 SE/4 18-4S-18W) | 201519 | 37784 | 365 | 8002-05-09 | Hanchett B
Produced Brine | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (S/2 SW/4 SEC 17 & E/2 SE/4 18-4S-18W) | 190000 | 100000 | 365 | None | Hanchett B
Crude Oil | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SW/4 SEC 7-4S-18W) | 201519 | 37784 | 365 | 8002-05-09 | Wiechen
Produced Brine | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SW/4 SEC 7-4S-18W) | 190000 | 100000 | 365 | None | Wiechen
Crude Oil | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (W/2 SE/4 SEC 18-4S-18W) | 201519 | 37784 | 365 | 8002-05-09 | Shaw
Produced Brine | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (W/2 SE/4 SEC 18-4S-18W) | 190000 | 100000 | 365 | None | Shaw
Crude Oil | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (NE/4 SEC 27-1S-18W) | 201519 | 37784 | 365 | 8002-05-09 | Johnson B
Produced Brine | No | Flammable | Respiratory or Skins Sensitization, Carcinogenicity, Aspiration Hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (NE/4 SEC 27-1S-18W) | 190000 | 100000 | 365 | None | Johnson B
Updated 3/6/2026

## Trinity Ag
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Trinity Ag LLC | 616 E Hwy 36 | 785-282-6813 | 312 & Annual | Dale Mertens | safety@trinityagllc.com | 785-282-4150
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Anhydrous Ammonia | Yes | Flammable & Gass under pressure (compressed gas) | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Greater than Ambient Pressure | Ambient Temperature | Liquid & Gas | Anhydrous Plant | 150000 | 70000 | 365 | 7664-41-7 | 671 Railroad Ave, Agra KS
Anhydrous Ammonia | Yes | Flammable & Gass under pressure (compressed gas) | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid & Gas | East of Scale House | 252000 | 180000 | 365 | 7664-41-7 | Main Street, Gretna
Anhydrous Ammonia | Yes | Flammable & Gass under pressure (compressed gas) | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Greater than Ambient Pressure | Ambient Temperature | Liquid & Gas | Anhydrous Plant | 168000 | 50000 | 365 | 7664-41-7 | 222 NE 4th St. Kirwin
Disel Fuel | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Card-Trol | 170000 | 80000 | 365 | 68476-34-6 | 222 NE 4th St. Kirwin
E-85 | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity | Above Ground Tank | Ambient Pressure | Ambient Temperature |  | Card-Trol | 33000 | 15000 | 365 | None | 222 NE 4th St. Kirwin
Unleaded Gasoline | No | Flammable | Skin corrosion, serious eye damage or eye irritation, respiratory or skin sensitization, carcinogenicity | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Card-Trol | 75000 | 35000 | 365 | None | 222 NE 4th St. Kirwin
11-52-0 MAP | No | Hazard not otherwise classified | Serious eye damage or eye irritation, respiratory or skin sensitization, specific target organ toxicity | Other | Ambient Pressure | Ambient Temperature | Solid & Mix | Dry Fert Bldg. Bay 5 | 130000 | 65000 | 365 | 7722-76-1 | 395 West B St. Phillipsburg
12-40-0 Fertilizer | No | Hazard not otherwise classified | Serious eye damage or eye irritation, respiratory or skin sensitization, specific target organ toxicity | Other | Ambient Pressure | Ambient Temperature | Solid & Mix | Dry Fert Bldg. Bays 3&4 | 250000 | 125000 | 365 | 7722-76-1 | 395 West B St. Phillipsburg
Anhydrous Ammonia | Yes | Flammable & Gass under pressure (compressed gas) | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid & Gas | Fuel Storage Area | 178000 | 100000 | 365 | 7664-41-7 | 395 West B St. Phillipsburg
Diesel Fuel | No | Flammable | Skin corrosion or irritation, carcinogenicity | Above Ground Tank & Below Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Bulk Storage Facility & Fuel Station | 682000 | 400000 | 365 | 68476-34-6 | 395 West B St. Phillipsburg
Malathion Grain Protector Dust | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Box | Ambient Pressure | Ambient Temperature | Solid & Mix | Chemical Warehouse | 1000 | 450 | 365 | 121-75-5 | 395 West B St. Phillipsburg
Propane | No | Flammable & Gass under pressure (compressed gas) | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Greater than Ambient Pressure | Ambient Temperature | Liquid | West Hwy 36 | 101000 | 63150 | 365 | 74-98-6 | Phillipsburg
Unleaded Gasoline | No | Flammable | Skin corrosion or irritation, serious eye damage or irritation, carcinogenicity | Above Ground Tank & Below Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Bulk Storage Facility & Fuel Station | 148000 | 80000 | 365 | 8006-61-9 | 395 West B St. Phillipsburg
Urea | No | Hazard not otherwise classified | Hazard not otherwise classified | Other | Ambient Pressure | Ambient Temperature | Solid & Mix | Dry Fert Bldg. Bays 1&2 | 300000 | 150000 | 365 | 57-13-6 | 395 West B St. Phillipsburg
Weevil-CIDE | Yes | Flammable, In contact with water emits flammable gas | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Cylinder | Ambient Pressure | Ambient Temperature | Solid & Gas | Seed WHSE | 60 | 20 | 365 | 20859-73-8 | 395 West B St. Phillipsburg
12-40-0 Fertilizer | No | Hazard not otherwise classified | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Dry Fert Tanks 3&4 | 240000 | 120000 | 365 | 7722-76-1 | 306 E Main St. Logan
2, 4 D LV6 | No | Hazard not otherwise classified | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Plastic Bottles or Jugs | Ambient Pressure | Ambient Temperature | Liquid | Chemical Warehouse | 18000 | 4850 | 365 | 1928-43-4 | 306 E Main St. Logan
Anhydrous Ammonia | Yes | Flammable, Gas under pressure (compressed gas) | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Greater than Ambient Pressure | Ambient Temperature | Liquid & Gas | Fertilizer Plant | 299000 | 175000 | 365 | 7664-41-7 | 306 E Main St. Logan
Atrazine | No | Hazard not otherwise classified | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Chemical Warehouse | 14000 | 7000 | 365 | 1912-24-9 | 306 E Main St. Logan
Charger Max ATX Lite | No | N/A | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, reproductive toxicity | Tank Inside Bldg. | Ambient Pressure | Ambient Temperature | Liquid | Chemical Warehouse | 25000 | 20000 | 365 | 1912-24-9 | 306 E Main St. Logan
Chlorpyrifos 4E AG | No | Flammable | Acute toxicity, carcinogenicity, aspiration hazard | Glass Bottles or Jugs | Ambient Pressure | Ambient Temperature | Liquid | Chemical Warehouse | 100 | 70 | 365 | 2921-88-2 | 306 E Main St. Logan
Diesel Fuel | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, carcinogenicity | Below Ground Tank | Ambient Pressure | Ambient Temperature | Liquid & Mix | Card-Trol | 113000 | 60000 | 365 | 68476-34-6 | 306 E Main St. Logan
E-99 | No | Hazard not otherwise classified | Acute toxicity (any route of exposure), skin corrosion or irritation, respiratory or skin sensitization | Tank Inside Bldg. | Ambient Pressure | Ambient Temperature | Liquid & Mix | Chemical Warehouse | 10000 | 5000 | 365 | 1929-73-3 | 306 E Main St. Logan
Propane | No | Flammable, Gas under pressure (compressed gas) | Hazard not otherwise classified | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid & Gas | On Site | 80000 | 45000 | 365 | 74-98-6 | 306 E Main St. Logan
Unleaded Gasoline | No | Flammable | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, germ cell mutagenicity, carcinogenicity | Below Ground Tank | Ambient Pressure | Ambient Temperature | Liquid & Mix | Card-Trol | 50000 | 25000 | 365 | 8006-61-9 | 306 E Main St. Logan
Urea | No | Hazard not otherwise classified | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Solid & Mix | Dry Fert Tanks 1&2 | 220000 | 110000 | 365 | 6484-52-2 | 306 E Main St. Logan
Weevil-CIDE | No | In contact with water emits flammable gas | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Cylinder | Ambient Pressure | Ambient Temperature | Solid & Gas | Back Warehouse | 60 | 20 | 365 | 20859-73-8 | 306 E Main St. Logan
Anhydrous Ammonia | Yes | Flammable, Gas under pressure (compressed gas) | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | W. Main | 126000 | 58000 | 365 | 7664-41-7 | West Main St. Prairie View
Diesel Fuel | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, carcinogenicity | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Card-Trol | 107000 | 6000 | 365 | 68476-34-6 | West Main St. Prairie View
Unleaded Gasoline | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, carcinogenicity | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | Card-Trol | 50000 | 25000 | 365 | 8006-61-9 | West Main St. Prairie View
Updated 3/6/2026

## Berexco LLC
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Berexco LLC | 2020 N Bramblewood, Wichita KS | 316-265-3311 | 312 & Annual | Curt Gable | Foreman | 785-623-0546
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Crude Oil | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix, Gas | On Site (W/2 NE SEC 35-2S-19W) | 120000 | 60000 | 365 | 8002-05-9 | Berexco-Dayton Waterflood Unit
Crude Oil | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix, Gas | On Site (SW/4 NW/4 SEC 1-3S-19W) | 60000 | 30000 | 365 | 8002-05-9 | Berexco-Eltiste Lease
Crude Oil | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix, Gas | On Site (E-2 NE NWSE NE SW SEC 26-2S-19W) | 120000 | 60000 | 365 | 8002-05-9 | Berexco-Hanke Lease GMC
Crude Oil | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix, Gas | On Site (SW SEC 25-2S-19W) | 120000 | 60000 | 365 | 8002-05-9 | Berexco-Kaiser 2 Lease
Crude Oil | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix, Gas | On Site (SW/4 SEC 6-2S-18W) | 120000 | 60000 | 365 | 8002-05-9 | Berexco-Kanzelmeyer Lease GMC
Crude Oil | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix, Gas | On Site (W2 SE SW4) | 120000 | 60000 | 365 | 8002-05-9 | Berexco-Weinamn Lease
Petroleum | No | Explosive, Flammable, Gas under pressure (compressed gas) | Aspiration Hazard, Simple Asphyxiant | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | On Site (T2S R19W, Sec 36 NW NE NW) | 120000 | 60000 | 365 | 8002-05-9 | Berexco-Keese Lease
Updated 3/3/2026

## Ritchie Exploration Inc.
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Ritchie Exploration Inc | Wichita KS | 316-691-9500 | 312 & Annual | Thomas Atkins | tatkins@ritchie-exp.com | 785216-0155
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Crude Oil | No | Flammable | Carcinogenicity, Specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (SW/4 SEC 24-4S-20W) | 236645 | 118322 | 365 | 8002-05-9 | Ritchie Exp-Becker
Crude Oil | No | Flammable | Carcinogenicity, Specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (E/2 SE/4 SEC 23-4S-20W | 236645 | 118322 | 365 | 8002-05-9 | Ritchie Exp-Boyd
Crude Oil | No | Flammable | Carcinogenicity, Specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (NW/4 SEC 25-4S-20W) | 236645 | 118322 | 365 | 8002-05-9 | Ritchie Exp-Lynch
Crude Oil | No | Flammable | Carcinogenicity, Specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (NE SE SEC 26-4S-20W) | 236645 | 118322 | 365 | 8002-05-9 | Ritchie Exp-Gilliam ERW
Crude Oil | No | Flammable | Carcinogenicity, Specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (W/2 NW/4 SEC 30-4S-19W | 236645 | 118322 | 365 | 8002-05-9 | Ritchie Exp-ADEE P
Crude Oil | No | Flammable | Carcinogenicity, Specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid Mix | On Site (W/2 NW/4 SEC 30-4S-19W | 236645 | 118322 | 365 | 8002-05-9 | Ritchie Exp-ADEE P SWD
Updated 3/3/2026

## Darrah Oil Company LLC
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Darrah Oil Company Company LLC | 330 N. Mead Suite 200, Wichita | 316-219-3390 | 312 & Annual | Ryan Tremblay | ryan.tremblay@darrahoil.com | 785-434-6281
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Brine | No |  |  | Above Ground Tank | Ambient Pressure | Ambient Temperature |  | On Site (Lat: 39.6517071-Long: -99.3295898 | 15000 | 15000 | 365 | 7647-14-7
Crude Oil | No | Explosive, Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid | On Site (Lat: 39.6517071-Long: -99.3295898 | 100759 | 50380 | 365 | 8002-05-9
Updated 3/3/2026

## Murfin Drilling Co.
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Murfin Drilling Co. | 250 N Suite 300, Wichita KS | 316-267-3241 |  | Stan Froetschner | Sfroetschner@murfininic.com | 785-483-1197
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Crude Oil | No | Explosive, Flammable |  | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, mix | See below | 100000 | 50000 | 365 | 8002-05-9
Updated 3/3/2026

## CRCT
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Coffeyville Resources Crude Tran | Bartlesville OK | 918-766-4691 | 312 & Annual | Gary Wilkins | gnwilkins@cvrenergy.com | 405-331-9136
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Crude Oil | No | Explosive, Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, carcinogenicity, specific target organ toxicity, aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid/Pure | One Mile North of Phillipsburg (4 tanks-1 inside) | 535286 | 133821 | 59 | 8002-05-9
Updated 3/3/2026

## American Warrior Inc.
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
American Warrior Inc. | 3118 N. Cummings Rd, Garden City KS | 620-275-2963 | 312 & Annual | Kevin Wiles | kwiles@awioil.com | 620-271-4407
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Crude Oil | N | Explosive, Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix | On Site (SE NE SW SEC 3-5-20 | 12604860 | 2519892 | 365 | 8002-05-9 | AWI-Brown 4 & 7
Crude Oil | N | Explosive, Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix | On Site (C SE SW NW SEC 3-5-20) | 12604860 | 2519892 | 365 | 8002-05-9 | AWI-Bowman 5 SWD & 7
Saltwater | N | N/A | Skin corrosion or irritation, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix | On Site (C SE SW NW SEC 3-5-20) | 12604860 | 2519892 | 365 | 7647-14-5 | AWI-Bowman 5 SWD & 7
Updated 3/6/2026

## Coffeyville FertNitro
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Coffeyville Resources FERT/NITRO | 1589 Hwy 183, Phillipsburg KS | 785-543-5246 | 312 & Annual | Terry Redinger | tlredinger@cvenergy.com | 785-543-7728
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
UAN 32% | No | N/A | Serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix | P-UAN-1 | 4008800 | 4676337 | 365 | None
Updated 3/3/2026

## Nebraskaland Aviation
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Nebraskaland Aviation | 1002 Brewster, Holdrege NE | 308-995-6573 | 312 & Annual | Tye Marquardt | tye.martuardt@gmail.com | 308-293-2662
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Fultime NXT | No | N/A | Respiratory or skin sensitization, specific target organ toxicity (single or repeated exposure) | Other | Ambient Pressure | Ambient Temperature | Liquid, Mix | Stored in Chemical Warehouse (48 East Santa Fe Road, Phillipsburg KS) | 11638 | 4655 | 90 | 34256-82-1
Gramoxone SL 3.0 | Yes | Corrosive to metal | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, specific target organ toxicity (single or repeated exposure) | Plastic Bottles or Jugs | Ambient Pressure | Ambient Temperature | Liquid, Mix | Stored in Chemical Warehouse (48 East Santa Fe Road, Phillipsburg KS) | 48 | 29 | 90 | 1910-42-5
Grazonnext HL | No | N/A | Serious eye damage or eye irritation | Plastic Bottles or Jugs | Ambient Pressure | Ambient Temperature | Liquid, Mix | Stored in Chemical Warehouse (48 East Santa Fe Road, Phillipsburg KS) | 12225 | 4890 | 90 | 2008-39-1
Jet Fuel | No | Flammable | Skin corrosion or irritation, germ cell mutagenicity, carcinogenicity, reprodcutive toxicity, specific target organ toxicity (single or repeated exposure), aspiration hazard | Above Ground Tank | Ambient Pressure | Ambient Temperature | Liquid, Mix | Stored in Chemical Warehouse (48 East Santa Fe Road, Phillipsburg KS) | 14020 | 10515 | 270 | 8008-20-6
Updated 3/32026

## Mineral Right Inc.
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Mineral Right Inc. | 10 West Quail Rd, Pburg | 785-543-6571 | 312 & Annual | Cory Jacobs | cory.jacobs@mineral-right.com | 785-543-7671
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Aluminum Trihydroxide | No | N/A | Serious eye damage or eye irritation, respiratory or skin sensitization | Bag | Ambient Pressure | Ambient Temp | Solid & Pure | East Side of Warehouse | 180000 | 15000 | 365 | 21645-51-2
Carbon Dioxide | No | Gas under pressure (compressed gas), Hazard not otherwise classified | Aspiration hazard, Hazard not otherwise classified | Above Ground Tank | Great than Ambient Pressure | Less than Ambient Temp | Liquid & Pure | 1/2 Mile South of Plant (West Tank) | 63500 | 30000 | 365 | 124-38-9
Manganese II Chloride | No | N/A | Acute toxicity (any route of exposure), serious eye damage or eye irritation, specific target organ toxicity (single or repeated exposure) | Bag | Ambient Pressure | Ambient Temp | Solid & Pure | West end of white bldg. | 40000 | 2500 | 365 | 7773-01-5
Manganese Sulfate | No | Flammable, combustible dust | Acute toxicity (any route of exposure), specific target organ toxicity (single or repeated exposure), hazard not otherwise classified | Bag | Ambient Pressure | Ambient Temp | Solid | South wall of white bldg. | 7200 | 7200 | 365 | 10034-96-5
Potassium Permanganate | No | Oxidizer (gas, liquid, or solid), | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin senstitization, specific target organ toxicity (single or repeated exposure), hazard not otherwise classified | 5 Gallon Buckets | Ambient Pressure | Ambient Temp | Solid | Southwest corner of white bldg. | 8000 | 1000 | 365 | 7722-64-7
Propane | No | Explosive, flammable, gas under pressure | Specific target organ toxicity, simple asphyxiant | Above Ground Tank X2 | Great than Ambient Pressure | Ambient Temp | Liquid & Gas | Portable Tank 110 GAL & Fixed Tank 500 GAL | 2100 | 1000 | 365 | 74-98-6
Sodium Hydroxide | No | Corrosive to metal | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin senstitization | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | East side of plant-chem prod | 64000 | 15000 | 365 | 1310-73-2
Sodium Silicate Solution | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | East side of plant-chem prod | 115000 | 20000 | 365 | 1344-09-8
Sulfuric Acid 91-100% | No | Corrosive to metal | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity | Plastic Drum or Non-Metallic | Ambient Pressure | Ambient Temp | Liquid | NW corner of white bldg. | 1000 | 1000 | 365 | 7664-93-9
Updated 3/9/2026

## Verizon Wireless
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Verizon Wireless | 106 E. Quail RD | 800-386-9639 | 312 & Annual | Network Ops | vz-epcra@verison.com | 800-386-9639
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Lead Acid Batteries | Y | Explosive, Corrosive | Acute toxicity (any route of exposure), Skin corrosion or irritation, serious eye damage or irritation, respoiratory or skin sensitization, germ cell mutagenicity, carcinogenicity, reproductive toxicity, specific target organ toxicity, aspiration hazard | Battery | Ambrient | Ambient | Solid, Liquid, Mix | Battery Room-Cabinets | 5808 | 5808 | 365 | 7664-93-9
Updated 3/3/2026

## Long Island Redi Mix
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Long Island Redi Mix LLC | 567 Topeka Ave, Long Island KS | 785-854-8032 | 312 & Annual | Trevor Hammond | liredimix@hotmail.com | 785-854-8032
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
1L Cement Powder | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity, specific target organ toxicity | Silo | Ambient Pressure | Ambient Temperature | Solid | Ready Mix Plant | 100000 | 100000 | 365 | 65997-15-1
Fly Ash | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity, specific target organ toxicity | Silo | Ambient Pressure | Ambient Temperature | Solid | Ready Mix Plant | 90000 | 90000 | 365 | 68131-74-8
Sand | No | N/A | Skin corrosion or irritation, serious eye damage or eye irritation, carcinogenicity, specific target organ toxicity | Other | Ambient Pressure | Ambient Temperature | Solid | Sand Piles on Site | 8000000 | 8000000 | 365 | 14808-60-7
Updated 3/6/2026

## Johnson Oil
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
Johnson Oil | 258 East Hwy 36, Pburg | 785-543-6171 | 312 & Annual | Kevin Johnson |  | 785-543-6171
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Max Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS # | Notes
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On site (Lat: 39.8194170 & Long: -99.4242000) | 668 | 668 | 365 | 8002-05-9 | Johnson Oil-Eltiste A
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion or irritation, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On site (Lat: 39.8194170 & Long: -99.4242000) | 2498 | 2498 | 365 | 7647-14-5 | Johnson Oil-Eltiste A
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8715670 & Long:-99.4104670 | 871 | 871 | 365 | 8002-05-9 | Johnson Oil-Hanke-Bach
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8715670 & Long:-99.4104670 | 2855 | 2855 | 365 | 7647-14-5 | Johnson Oil-Hanke-Bach
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8652670 & Long: -99.4088170) | 0 | 0 | 365 | 8002-05-9 | Johnson Oil-Hanke SWD
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8652670 & Long: -99.4088170) | 11063 | 11063 | 365 | 7647-14-5 | Johnson Oil-Hanke SWD
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.7999170 & Long: -99.4315830) | 290 | 290 | 365 | 8002-05-9 | Johnson Oil-IMM
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.7999170 & Long: -99.4315830) | 178 | 178 | 365 | 7647-14-5 | Johnson Oil-IMM
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.1875000 & Long: -99.4195330) | 726 | 726 | 365 | 8002-05-9 | Johnson Oil-Kaiser S Battery Lease
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.1875000 & Long: -99.4195330) | 5710 | 5710 | 365 | 7647-14-5 | Johnson Oil-Kaiser S Battery Lease
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8575670 & Long: -99.4194670) | 435 | 435 | 365 | 8002-05-9 | Johnson Oil-Kaiser N Battery Lease
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8575670 & Long: -99.4194670) | 357 | 357 | 365 | 7647-14-5 | Johnson Oil-Kaiser N Battery Lease
Crude Oil | No | Explosive, flammable | Acute toxicity (any route of exposure) | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8097000 & Long: -99.4225330) | 436 | 436 | 365 | 8002-05-9 | Johnson Oil-Weinman A
Saltwater | No | Oxidizer, corrosive to metal | Skin corrosion, serious eye damage or eye irritation | Above Ground Tank | Ambient Pressure | Ambient Temp | Liquid & Mix | On Site (Lat: 39.8097000 & Long: -99.4225330) | 2141 | 2141 | 365 | 7647-14-5 | Johnson Oil-Weinman A

## CHCS Inc.
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
CHS INC | 5500 Cenex Dr. Inver Grove Heights, MN | 800-210-9324 | 312 & Annual | Joshua Schilowsky | joshua.schilowsky@chsinc.com | 308-991-2819
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Atrazine 4L Herbicide | No | Flammable | Acute toxicity (any route of exposure), serious eye damage or eye irritation, respiratory or skin sensitization, specific target organ toxicity (Single or repeated exposure) | Tote Bin, Plastic Bottles or Jugs | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 9699 | 3800 | 365 | None
Buccaneer 5 Extra | No | Corrosive to Metal | Serious eye damage or eye irritation | Tote Bin, Plastic Bottles or Jugs | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 26109 | 15631 | 365 | 38641-94-0
Clearout 5 Extra | No | N/A | Acute toxicity (any route of exposure), serious eye damage or eye irritation, | Tote Bin | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 40784 | 24125 | 197 | 38641-94-0
Dicamba DMA Salt | No | N/A | Acute toxicity (any route of exposure), serious eye damage or eye irritation, hazard not otherwise classified | Tote Bin, Plastic Bottles or Jugs | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 12927 | 2989 | 365 | None
Dimethoate 4EC | Yes | Flammable | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation, specific target organ toxicity (Single or repeated exposure), Aspiration hazard | Plastic Bottles or Jugs | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 205 | 205 | 365 | 60-51-5
Glysupreme Extra | No | N/A | Acute toxicity (any route of exposure), serious eye damage or eye irritation | Plastic Bottles or Jugs | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 53477 | 29243 | 252 | 38641-94-0
Helmquat 3SL | No | N/A | Acute toxicity (any route of exposure), skin corrosion or irritation, serious eye damage or eye irritation | Tote Bin | Ambient Presure | Ambient Temp | Liquid, Mix | Warehouse (Lat: 39.75501-Long: 99.30867) | 2544 | 2544 | 5 | None

## IA Op Inc.
Kansas EPCRA Tier II Emergency & Hazardous Chemical Inventory
Facility Name | Address | Phone# | Section Reporting | Tier II Contact | Email | 24 Phone#
IA Operating Inc. | Edmond OK | 316-721-0036 | 312 & Annual | Tom Berens | tberens@ruraltel.net | 785-639-5727
Chemical Description | EHS Y or N | Physical Hazards | Health Hazards | Container Type | Pressure | Temperature | Type | Storage Location | Maximum Daily Amount (lbs) | Average Daily Amount (lbs) | # of Days on Site | CAS #
Emulsion Breaker | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, specific target organ toxicity, aspiration hazard | Steel Drum & Other | Ambient Pressure & Greater than Ambient Pressure | Ambient Temp | Liquid & Mix | Production Area (Lat: 39.6325048-Long: -99.5433426) | 500 | 200 | 365 | 64741-68-0
Fuels | No | Flammable & Gas Under Pressure | Skin corrosion or irritation, serious eye damage or eye irritation | Above Ground Tank | Great than Ambient Pressure | Ambient Temp | Liquid | Production Area (Lat: 39.6325048-Long: -99.5433426) | 7000 | 3000 | 365 | 74-98-6
Produced Hydrocarbons | No | Explosive, flammable | Serious eye damage or eye irritation | Above Ground Tank x2 | Ambient Pressure & Greater than Ambient Pressure | Greater than Ambient Temp | Liquid & Mix | Production Area (Lat: 39.6325048-Long: -99.5433426) | 110000 | 55000 | 365 | 8002-05-09
Scale/Corrosion Inhibitors | No | Flammable | Skin corrosion or irritation, serious eye damage or eye irritation, respiratory or skin sensitization, specific target organ toxicity | Steel Drum & Other | Ambient Pressure & Greater than Ambient Pressure | Ambient Temp | Liquid & Mix | Production Area (Lat: 39.6325048-Long: -99.5433426) | 500 | 200 | 365 | 67-63-0
updated 3/13/26